1) Paper identity

- Title:  SCHIZOPHRENIA detection from EEG data using IMAGE ENCODING

- Year / Venue : 2025 / Scientific report

- Authors : Utathya Aich, Arghyasree Saha, Marcin Woźniak, Muhammad Fazal Ijaz, Pawan Kumar Singh.

- Problem statement: Overcoming the Subjective clinical evaluation which leads to misdiagnosis by using objective, automated diagnostic framework using EEG data .

- Task type: Diagnostic support / Screening

- Target population: Adolescents and Adults .

2) What is being predicted

- Label/output: Binary (Schizophrenia vs Normal People)

- Label source: Clinician diagnosis.

- Prediction time horizon: Single session.

- What “positive” means: The person belongs to Schizophrenia group based on the brain wave patterns.

3) Modalities + signals used

- ✅ MRI / EEG / physiological data: Used EEG signals.

- ❌Tabular data

- ❌ Video

- ❌ Audio / speech

- ❌ Text

- Capture setup: Scalp electrodes (16 channels) measuring electrical activity in microvolts.

- Task Elicitation: Standard resting-state or clinical EEG recording.

4) Dataset facts (must be precise)

- Dataset 1:

- MSU DATASET ( Moscow State University )  :       http://brain.bio.msu.ru/eeg_schizophrenia.htm  or https://www.kaggle.com/datasets/kacharepramod/eeg-schizophrenia

- Total subjects:

84 ( 45 schizophrenia, 39 normal )

- Total samples/recordings:

EEG segmented into artifact-free 30-second segments

Converted into 12,096 scalogram images

Sliding window: 20 s window, 15 s overlap

- Train / Validation / Test Split

80% training, 20% testing

- Demographics:

Country: Russia

Age group: Adolescents

- Inclusion / Exclusion

Inclusion: Clinically diagnosed schizophrenia and healthy subjects

Exclusion: EEG segments with artifacts (eye movement, muscle, ECG)

- Leakage Risk: Low

- Dataset 2 :

- RepOD DATASET :  https://www.kaggle.com/datasets/srinivasapanchavedi/eeg-data-for-schizophrenia

- Total subjects:

28 ( 14 schizophrenia, 14 normal )

- Sampling :

15-minute EEG per subject

Converted into 89,830 scalogram images

Sliding window: 20 s window, 15 s overlap.

- Train/Test:

80% training, 20% testing

- Demographics :

Gender: Balanced

Age: Adults

- Inclusion / Exclusion

Inclusion: Clinically diagnosed schizophrenia and healthy subjects

Exclusion: EEG segments with artifacts (eye movement, muscle, ECG)

- Leakage Risks:  No as its controlled

5) Preprocessing (replication critical)

- Cleaning: 2nd-order Butterworth filter to isolate frequency bands (Delta, Theta, Alpha, Beta, Gamma). Artifact-free segments selected.

- Segmentation: 20-second sliding windows with a 15-second overlap (5-second shift).

- Feature Extraction: Continuous Wavelet Transform (CWT) using Morlet Wavelet to generate Scalogram images (256 x 256 pixels).

- Removal of low – quality segments.

6) Model architecture (replication critical)

- Model type: Hybrid (Deep learning + ML Wrapper)

- Backbone: Dual-stream extraction using EfficientNetB3 and DenseNet169 (pre-trained on ImageNet).

- Fusion strategy:

  - Late fusion

  - Concatenation of features extracted from Global Average Pooling layers.

- What exactly is trained: Fine – tunned CNN layers with 30 epochs (one complete pass-through dataset), KNN classification within the Wrapper (ASBO).

- Model size: Lightweight.

7) Training recipe (must capture)

- Loss function(s): Categorical Crossentropy.

- Optimization: Adamax ( 0.001).

- Batch size, epochs, early stopping: 30 epochs for feature extraction and 100 ASBO iterations.

- Class imbalance handling : Balanced datasets .

- Hardware used (GPU type) and training time (if mentioned) : NVIDIA GPU T4 Kaggle .

8) Evaluation protocol (must be strict)

- Primary metric (AUROC/AUPRC/F1/accuracy/MAE): Accuracy,F1-Score , Recall.

- Secondary metrics: Precision

- Cross-validation : test – train- split.

- Threshold : Default KNN threshold

- External validation dataset : Yes ( Result validation checked with two independent datasets)

9) Results snapshot (numbers + context)

- Main result table :

- MSU DATASET : 99.67% accuracy

- RepOd DATASET:  99.97% accuracy

- Best baseline comparisons : Beats all the previous tested previous frameworks

- Ablations: Shows that the concatenation features and the ASBO wrapper significantly outperformed individual models while reducing the complexity.

- Generalization claims: Strong supported by constant performance across datasets.

10) Interpretability / explainability

- Any explainability method used: NONE.

- What explanations are shown: Scalograms are used visually to demonstrate the difference between normal and schizophrenic person.

- Are explanations clinically meaningful: Vizualization of Delta/Alpha/Theta/Beta/Gamma bands in scalograms are used to justify the choice of CWT.

11) Reproducibility score (students must judge)

- Dataset availability: 5 , Both MSU and RepOD datasets are well known and public repositories .

- Method clarity: 4 , The work flow is clear but need high mathematical knowledge to replicate the ASBO feature selection and preprocessing parameters ( Morlet wavelet , Butterwort Filter).

- Compute feasibility: 5, Runs on the standard T4 GPU (free on Kaggle 30 hrs per week) .

- Replication readiness: 4.6, Reproducible given the clear pipelines of the format .

12) Productization notes (this is the key)

A) What would a real-world input look like?

- Raw EEG data stream from the 16-19 channel caps , requires lab equipment .

B) Minimum viable workflow (MVP):

- Patient preparation ( 10 min)  EEG recording ( 15min)  CWT conversion  Cloud upload  Diagnostic Score

- Time required < 30 min .

- Quality checks required : checking the working of the electrode of the caps and the signals

C) Output format:

- Binary classification with a confident score.

- Gives if the patient is normal or schizophrenic .

D) Constraints and risks:

- Bias towards adolescent and adult must be monitored.

- Sensitive clinical data .

- Need more verification as false positive and false negative can be observed.

- False positive  could lead to misidentification, false negative  delayed treatment.

E) Deployment feasibility:

- Cloud based API for hospital systems

- latency expectations: low due to light weight feature vector .

13) “Your proposed extension” (one concrete idea)

- We can add another Modality like speech verification as people with schizophrenia often show symptoms of formal thought disorder.

- We can convert the audio to spectrogram and apply the same process as that of scalogram to this spectrogram.

- This helps in catching the different parts of the illness and we can make it much scientifically believable to the doctor and improves the quality of the diagnosis.