EEG-BASED SCHIZOPHRENIA

EARLY DETECTION SYSTEM

Theory, Architecture & Decision Defense Document

Based on: Scientific Reports 2025 — Aich et al. (99.67% accuracy)

| Problem Schizophrenia affects 1% of the world. Diagnosis is entirely subjective and delayed by years. | Approach Convert EEG brain signals to scalogram images. Use deep learning + graph networks to detect patterns. | Goal A clinical tool that gives doctors: detection, severity, brain map, explanation — not just yes/no. |
| --- | --- | --- |

The Four Questions We Answer for Every Decision: 1. WHY THIS MODEL / METHOD? — The theoretical reason this is the right choice. 2. WHAT WILL THIS DO? — The exact function and output of this component. 3. WHAT IS THE NEXT STEP AND WHY? — How this feeds into what comes next. 4. WHY NOT OTHER MODELS? — What we considered and why we rejected it.

PART 1  UNDERSTANDING THE PROBLEM BEFORE BUILDING ANYTHING

1.1  What is Schizophrenia and Why is EEG the Right Signal?

Schizophrenia is not a single brain event. It is a disconnection syndrome — meaning the brain's regions fail to communicate with each other in coordinated ways. This is the most important theoretical fact for our entire project. Every single architectural decision we make flows from this one idea.

A healthy brain generates rhythmic electrical oscillations that are synchronized across regions. In schizophrenia, these synchronizations break down — particularly between the frontal cortex (which handles thinking and decision-making) and the temporal cortex (which handles language and auditory processing). This breakdown produces measurable patterns in EEG.

| WHY THIS? | WHAT DOES IT DO? | NEXT STEP & WHY? | WHY NOT OTHERS? |
| --- | --- | --- | --- |
| EEG captures brain electrical activity at millisecond resolution. It directly measures the synchronisation failures that define schizophrenia. It is non-invasive, low-cost, and already used clinically. MRI, CT, and fMRI are expensive and impractical for routine screening. | EEG records voltage fluctuations from 16 scalp electrodes at 128-250 Hz. Each electrode captures local brain activity. Together, they form a spatiotemporal map of the whole brain's electrical state. From this we extract frequency patterns and inter-region synchronisation. | Next: Convert raw EEG into a format a deep learning model can process. Raw time-series is too noisy and high-dimensional. We need a 2D representation that preserves both time and frequency simultaneously. This leads us to the CWT Scalogram step. | fMRI: Expensive, slow (seconds resolution vs. ms for EEG), not practical for screening. MRI: Shows structure, not function. Cannot see the dynamic disconnection. Speech analysis: Secondary symptom. EEG captures the root cause directly. Blood tests: No validated schizophrenia biomarker exists in blood. |

1.2  What Does the EEG Signal Actually Look Like in Schizophrenia?

Before building any model, we must understand what patterns we are asking the model to find. These are the five known EEG biomarkers of schizophrenia, derived from decades of neuroscience research:

| EEG Band | Frequency Range | What It Measures | Pattern in Schizophrenia | Clinical Meaning |
| --- | --- | --- | --- | --- |
| Delta (δ) | 2–4 Hz | Slow synchronisation | Elevated power | Cognitive slowing, impaired attention |
| Theta (θ) | 4.5–7.5 Hz | Memory & cognition | Disrupted coherence | Working memory deficits |
| Alpha (α) | 8–12.5 Hz | Inhibition & awareness | Significantly reduced | Attentional dysregulation |
| Beta (β) | 13–30 Hz | Active processing | Reduced coherence | Linked to dopamine dysregulation |
| Gamma (γ) | 30–45 Hz | Binding & perception | Severely reduced | Core biomarker — sensory deficit |

Key Theoretical Insight: Gamma band (30-45 Hz) is generated by GABAergic interneurons. In schizophrenia, these neurons are dysfunctional. This is not a correlational observation — it is a mechanistic link between brain biology and EEG signal. This means our model is not finding statistical patterns by accident. It is finding real biological dysfunction. This is what makes our system scientifically defensible to a medical audience.

PART 2  THE 2025 RESEARCH PAPER — WHAT IT DID AND WHAT IT MISSED

2.1  The Paper's Three-Stage Framework (What We Start From)

The 2025 paper by Aich et al. (Scientific Reports) introduced a framework that achieved 99.67% accuracy on the MSU dataset and 99.97% on the RepOD dataset. We begin with this because it is the current state of the art on these datasets. Understanding precisely what it does — and does not do — defines our research gap.

| Stage | What the Paper Does | Why It Works | What It Misses |
| --- | --- | --- | --- |
| Stage 1: Signal → Image | Converts raw EEG to CWT scalogram images using Morlet wavelet. 20s windows, 15s overlap. | Preserves both time and frequency in a single 2D image. Makes the problem an image classification task. | Treats each channel independently. Does not capture how channels relate to each other. |
| Stage 2: Feature Extraction | Uses EfficientNetB3 and DenseNet169 pretrained on ImageNet. Extracts 1536 + 1664 = 3200 features. | Transfer learning compensates for small dataset. Two models capture different feature hierarchies. | ImageNet features are for natural photos. Cats and cars, not brain oscillations. |
| Stage 3: Feature Selection + Classification | ASBO wrapper selects 892 optimal features. KNN classifier makes final prediction. | Reduces from 3200 to 892 features without accuracy loss. ASBO is parameter-free. | KNN does not learn. No end-to-end training. Zero uncertainty output. Zero explainability. |

2.2  The Three Critical Gaps We Fill

Gap 1 — No Connectivity Modelling The paper processes each EEG channel as a separate scalogram. But schizophrenia is fundamentally a disconnection syndrome. The most important biomarker is not what happens within a channel — it is the breakdown of synchronisation between channels. The paper completely ignores inter-channel relationships. We add Phase-Locking Value (PLV) connectivity modelling to fix this.

Gap 2 — No Clinical Explainability The paper produces a binary label: schizophrenic or healthy. A doctor cannot use this. The paper itself lists explainability as "future work" in its conclusion section. We implement GradCAM, SHAP, and per-band analysis — three complementary explanations that give doctors actionable information.

Gap 3 — No Uncertainty Quantification A model that is 52% confident looks identical to one that is 98% confident when only a label is output. In clinical settings, a borderline case requires different handling than a clear positive. We implement Monte Carlo Dropout to output both a probability and a confidence interval for every prediction.

PART 3  THE COMPLETE PIPELINE — EVERY STEP DEFENDED

Each step below is presented with the four questions your head of startup expects you to answer. Read each section until you can explain it without looking at the page.

STEP 1 — Preprocessing with MNE-Python + ICA

Theory: EEG signals are contaminated by three major artifact sources: eye blinks (generate 100-200 µV spikes — 10× larger than brain signals), muscle activity (broadband noise from facial and scalp muscles), and cardiac artifacts (heartbeat rhythm leaking into EEG). A model trained on unclean data does not learn schizophrenia patterns — it learns to distinguish subjects by their blink rate or muscle tension.

| WHY THIS? | WHAT DOES IT DO? | NEXT STEP & WHY? | WHY NOT OTHERS? |
| --- | --- | --- | --- |
| EEG artifacts are 10x larger than brain signals. ICA separates signal into independent components — blinks and muscle noise occupy specific components that can be identified and removed. MNE-Python is the gold standard clinical EEG library used in hospitals worldwide. The paper uses only a Butterworth filter — this removes frequencies but cannot remove broadband eye-blink artifacts. | Loads raw EEG from .txt or .edf file format (both datasets supported). Applies 0.5-45 Hz bandpass Butterworth filter to remove DC drift and high-freq noise. Runs ICA to decompose signal into 16 independent components. Automatically identifies and removes artifact components. Re-references to average. Outputs 16-channel clean EEG segments of 20 seconds each with 15-second overlap. | Next: Signal Representation (CWT + PLV). Clean signal → scalogram shows real brain oscillations, not artifact patterns. The 20s window with 15s overlap is taken directly from the paper — it converts 84 subjects into 12,096 training images. Without this data augmentation step, we have too few samples to train any deep model. | Simple Butterworth filter only: Cannot remove eye-blink artifacts (broadband). Artifact Subspace Reconstruction (ASR): Better for real-time/online processing. Overkill for offline analysis. Manual artifact rejection: Too slow, not reproducible, introduces human bias. No preprocessing: Model learns artifacts. 62% accuracy is likely caused by this alone. |

STEP 2A — CWT Scalogram (Time-Frequency Representation)

Theory: A raw EEG time-series shows you amplitude over time but not which frequencies are present when. A Fourier Transform shows you frequencies but destroys all time information. The Continuous Wavelet Transform (CWT) gives you both simultaneously — it shows you which frequencies are present at every moment in time. The resulting image is called a scalogram, and it is the ideal input for a CNN because it converts the temporal pattern into a 2D spatial pattern the model can learn.

| WHY THIS? | WHAT DOES IT DO? | NEXT STEP & WHY? | WHY NOT OTHERS? |
| --- | --- | --- | --- |
| EEG patterns in schizophrenia are non-stationary — they appear intermittently. A pure Fourier Transform averages over time and loses the temporal location of events. CWT captures both WHEN and AT WHAT FREQUENCY an event occurs. The Morlet wavelet (chosen by the paper) provides optimal balance between time and frequency resolution. | Takes 20s EEG window for each channel. Applies Morlet wavelet CWT using the spkit library's ScalogramCWT function. Generates a 2D scalogram image: x-axis = time, y-axis = frequency, colour = power. All 16 channel scalograms are stacked into a single 16-channel tensor — unlike the paper which treats them independently. Output: One 16-channel scalogram image per 20-second window. | Next: Phase-Locking Value (PLV) connectivity matrix. Scalogram captures what is happening WITHIN each channel. But schizophrenia involves channels failing to synchronise WITH EACH OTHER. We need a second representation to capture inter-channel relationships. | STFT (Short-Time Fourier Transform): Fixed time window — poor time resolution at low frequencies, poor frequency resolution at high frequencies. CWT adapts its window size to the frequency. Mel-Spectrogram: Designed for speech/audio perception. Mel scale is perceptual, not neurophysiological. Wrong domain. Raw time-series to CNN: No frequency information preserved. CNN has to learn oscillations from scratch — poor on small datasets. Discrete Wavelet Transform: Fixed scales, less flexible. CWT is continuous and captures all scales. |

STEP 2B — PLV Connectivity Matrix (The Paper's Missing Piece)

Theory: Phase-Locking Value (PLV) measures how consistently two EEG channels maintain a fixed phase relationship over time. A PLV of 1.0 means the two channels are perfectly synchronised. A PLV of 0.0 means they are completely independent. In healthy brains, frontal and temporal regions maintain high PLV in gamma frequencies. In schizophrenia, this synchronisation collapses — this is called "frontal-temporal desynchronisation" and it is one of the most replicated neuroscientific findings in schizophrenia research.

| WHY THIS? | WHAT DOES IT DO? | NEXT STEP & WHY? | WHY NOT OTHERS? |
| --- | --- | --- | --- |
| Schizophrenia is a disconnection syndrome. The defining feature is failure of inter-region communication, not intra-region malfunction. PLV directly measures this communication by quantifying phase synchronisation between electrode pairs. The frontal-temporal PLV in gamma band is the most biologically grounded schizophrenia biomarker. Scalograms cannot capture this. Only a pairwise connectivity measure can. | For each 20-second EEG window, computes pairwise PLV between all 16 channels. Computed separately for each of the 5 frequency bands (delta, theta, alpha, beta, gamma). Output: Five 16×16 matrices — one per frequency band. Each matrix cell [i,j] contains the PLV between electrode i and electrode j in that frequency band. This is then fed to the Graph Attention Network in Step 4. | Next: The Graph Attention Network uses this connectivity matrix as its input graph. The 16 electrodes become 16 nodes in a graph. The PLV values become the edge weights connecting them. The GAT learns which connections are most discriminative for schizophrenia. | Transfer Entropy (TE): Measures directional information flow. More informative in theory but requires much longer signals to estimate reliably. 20-second windows are insufficient. Coherence: Measures amplitude correlation. PLV measures phase synchronisation. For schizophrenia, phase synchronisation is the more validated biomarker. Granger Causality: Assumes linear relationships between channels. EEG is highly non-linear. Model assumptions violated. Ignoring connectivity (paper's choice): Misses the most important feature of schizophrenia EEG. |

STEP 3 — EEG-Conformer (Branch 1 of the Model)

Theory: EEG signals have two types of structure that a model must capture. First, local spatial-temporal structure — a gamma burst at electrode F3 that lasts 200ms. Second, long-range temporal dependencies — the relationship between an alpha suppression at t=2s and a gamma failure at t=8s. No single architecture type handles both well. CNNs excel at local patterns but fail at long-range dependencies. Transformers excel at long-range dependencies but need large datasets. The EEG-Conformer (Shiang-Chi Song et al., IEEE TNNLS 2022) combines both architectures specifically for EEG.

| WHY THIS? | WHAT DOES IT DO? | NEXT STEP & WHY? | WHY NOT OTHERS? |
| --- | --- | --- | --- |
| EEG has both local (short-time) and global (long-range) patterns. Standard CNNs miss patterns that span multiple seconds. Transformers on raw EEG overfit on small datasets (84 subjects). EEG-Conformer's CNN front-end compresses the sequence length before the Transformer, solving the data requirement problem. This architecture was designed for EEG — not adapted from image or text tasks. | Shallow CNN: Applies learned spatial filters across the 16-channel scalogram to extract local oscillatory features within short time windows. Transformer Encoder: Takes the CNN output as a sequence and applies multi-head self-attention to capture long-range dependencies between distant time points. Output: A 512-dimensional feature vector capturing both local and global temporal-spectral patterns from the scalogram. | Next: Graph Attention Network processes the PLV connectivity data in parallel. Both branches run simultaneously on the same EEG window. Their outputs are then combined by the Cross-Attention Fusion layer. The EEG-Conformer contributes "what is happening in each brain region over time." | EfficientNetB3 (paper): Pretrained on ImageNet — millions of natural photos. The learned filters detect edges and textures in RGB images. A scalogram's axes have physical meaning (Hz, seconds) — fundamentally different from a photo. Starting from wrong domain representations. DenseNet169 (paper): Same issue. Dense connectivity is powerful but the feature representations learned from photos do not transfer to oscillatory neural signals. Pure CNN: No long-range dependencies. Alpha at 2s cannot inform interpretation of gamma at 8s. Pure Transformer: Requires large datasets. 84 subjects → severe overfitting without the CNN front-end to reduce sequence length. LSTM/GRU: Sequential processing. Much slower than Transformer. Cannot parallelise training. Handles long-range dependencies worse than attention. |

STEP 4 — Graph Attention Network (Branch 2 of the Model)

Theory: The 16 EEG electrodes are not independent sensors. They are placed at anatomically meaningful positions on the scalp and they measure overlapping brain regions that form functional networks. The relationship between pairs of electrodes is more important than any individual electrode in isolation. Graph Neural Networks are specifically designed to learn from data where relationships between entities — edges — are as important as the entities themselves — nodes. A Graph Attention Network (GAT) additionally learns which relationships to prioritise using attention weights.

| WHY THIS? | WHAT DOES IT DO? | NEXT STEP & WHY? | WHY NOT OTHERS? |
| --- | --- | --- | --- |
| Electrode relationships carry diagnostic information that scalar features cannot encode. In schizophrenia, the F7-T3 frontal-temporal connection (gamma PLV) is specifically disrupted. A standard neural network fed a flattened connectivity matrix cannot respect the topology of the electrode network. GAT natively handles graph-structured data and learns which connections are diagnostically relevant. | Treats the 16 electrodes as 16 graph nodes. Uses the 5-band PLV matrices as edge weights (5 edge types, one per frequency band). Applies 3 layers of graph attention: each layer propagates information from each electrode to its neighbours, weighted by learned attention scores. Attention scores are higher for connections that are most discriminative for schizophrenia. Output: 16 node embeddings (one per electrode) capturing the brain network's connectivity state. | Next: Cross-Attention Fusion combines this with EEG-Conformer output. The GAT contributes "how brain regions are communicating with each other." The Conformer contributes "what each brain region is doing over time." Cross-Attention learns when each type of information should be emphasised. | GCN (Graph Convolutional Network): Averages all neighbour embeddings equally. GAT uses learnable attention weights — it can learn that frontal-temporal connections matter more than occipital-parietal connections for schizophrenia. Flattening connectivity matrix as CNN features: Destroys graph topology. A 16×16 matrix flattened to 256 numbers loses which electrodes are spatially adjacent. Concatenating connectivity to CNN output as extra features (implicit paper approach): No interaction between connectivity and spectral features during learning. They cannot inform each other. Ignoring connectivity (the paper): Proven suboptimal — missing the disconnection syndrome fingerprint. |

STEP 5 — Cross-Attention Fusion + Training Strategy

Theory (Fusion): When a doctor reviews a case, they do not look at EEG waveforms and connectivity maps independently. They integrate both. If the scalogram shows severe gamma reduction, they will check whether the frontal-temporal PLV is also reduced. The two sources of information inform each other. Cross-attention implements this integration mechanism mathematically — each branch can query the other branch's features and determine which of the other's information is most relevant given its own findings.

Theory (Training): We have 84 subjects in the MSU dataset. Supervised training from random initialisation on 84 subjects will overfit — the model will memorise the training set rather than learn generalisable patterns. Self-supervised pretraining using SimCLR first teaches the model the general structure of EEG signals without using labels, before we apply the schizophrenia labels for fine-tuning.

| WHY THIS? | WHAT DOES IT DO? | NEXT STEP & WHY? | WHY NOT OTHERS? |
| --- | --- | --- | --- |
| Fusion: Simple concatenation treats both branches as equally important for every case. Cross-attention is dynamic — it weights them based on what the current EEG shows. Training: 84 subjects is insufficient for supervised learning from scratch. SimCLR pretraining on all EEG data (no labels needed) teaches the model EEG structure first. | Fusion: EEG-Conformer output (512-dim) and GAT output (256-dim) are passed through a cross-attention layer. Each branch attends to the other using multi-head attention. Output is a 256-dim unified representation. SimCLR pretraining: Two augmented views of the same EEG window are pushed to have similar representations. Different windows are pushed apart. No labels required. Model learns EEG structure. Fine-tuning: Apply schizophrenia labels on pretrained model. Small learning rate. Converges fast and generalises well. | Next: The 256-dim output feeds the Classification Head with Monte Carlo Dropout. We output: probability of schizophrenia + uncertainty interval. Then the Explainability Layer generates GradCAM, SHAP, and band analysis. | Simple concatenation: No dynamic weighting. Treats scalogram features and connectivity features as always equally important regardless of context. ASBO feature selection (paper): Statistical wrapper applied post-hoc. Does not allow the two feature sets to inform each other during learning. Training from scratch (supervised only): 84 subjects → guaranteed overfitting. Validation accuracy will look high but test on new hospital data will collapse. ImageNet pretraining (paper): Wrong domain. See Step 3 explanation. |

STEP 6 — Monte Carlo Dropout (Uncertainty Output)

Theory: Every model has cases where it is confident and cases where it is uncertain. A model that outputs only a single probability cannot communicate this distinction. Gal & Ghahramani (2016) proved that a neural network with dropout at inference time is mathematically equivalent to a Bayesian approximation — running the model multiple times with different random dropout masks gives you a distribution of predictions whose spread measures uncertainty.

| WHY THIS? | WHAT DOES IT DO? | NEXT STEP & WHY? | WHY NOT OTHERS? |
| --- | --- | --- | --- |
| A prediction of 89% ± 2% confidence means something very different to a prediction of 89% ± 25% confidence. Doctors need to know when the model is uncertain so they can order additional investigation. Without uncertainty, the model cannot communicate that a borderline case requires more data. Regulatory frameworks for medical AI increasingly require uncertainty quantification. | Keeps dropout active at inference time (normally dropout is disabled after training). Runs the same EEG window through the model 50 times with different random dropout masks. Takes the mean of 50 predictions as the final probability. Takes the standard deviation of 50 predictions as the uncertainty interval. Output example: "73% schizophrenia — uncertainty ±4%" (confident) or "58% — uncertainty ±19%" (uncertain). | Next: Explainability Layer (GradCAM, SHAP, band analysis). The uncertainty score is displayed alongside the probability on the doctor's dashboard. High uncertainty triggers a yellow "borderline — further investigation advised" indicator. Low uncertainty with high probability triggers the clinical escalation pathway. | No uncertainty (paper's approach): Binary output. 51% and 99% look identical to the doctor. Full Bayesian Neural Networks: Replace every weight with a probability distribution. Computationally prohibitive at inference time. Ensemble of 10 models: 10× memory and compute. MC Dropout achieves similar results using existing dropout layers at no extra cost. Conformal prediction intervals: More statistically rigorous but requires a separate calibration dataset — difficult to justify with our small dataset size. |

STEP 7 — Three-Layer Explainability (The Clinical Interface)

Theory: A psychiatrist who receives a "positive for schizophrenia" output from a black-box model has no basis for clinical action. They cannot verify the model's reasoning, cannot explain it to the patient, cannot document it in a medical record, and cannot defend it in a clinical review. Explainability is not a feature — it is the requirement that separates a research model from a clinical tool.

| Method | What It Answers | What the Doctor Sees | Why This Specific Method |
| --- | --- | --- | --- |
| GradCAM (Gradient-weighted Class Activation Mapping) | WHICH time-frequency region in the scalogram triggered the detection? | A heatmap overlaid on the scalogram image. Red regions = most influential for prediction. | Works directly on CNN feature maps. Spatially intuitive. Doctor can see "gamma band between 8-12 seconds was the trigger." |
| SHAP (SHapley Additive ExPlanations) | WHICH electrode pair connections were most important for this specific prediction? | A brain diagram with electrode connections coloured by importance. Thick red line = high SHAP value. | Game-theoretically grounded. Guaranteed to sum to the total model output. Works on the GAT branch's tabular connectivity features. |
| Per-Band Power Radar Chart | HOW abnormal is each frequency band compared to the healthy population? | Radar chart with 5 axes (delta, theta, alpha, beta, gamma). Patient's values vs. healthy mean. Z-scores shown. | Directly maps to clinical EEG knowledge. Physicians already think in frequency bands. Gamma -2.3σ means something specific to a neurologist. |

Why Three Methods and Not Just One? GradCAM answers WHAT (which spectral pattern) — visual, on the scalogram image itself. SHAP answers WHERE (which brain connection) — spatial, on a brain topology diagram. Band radar answers HOW MUCH (severity per frequency band) — quantitative, clinically familiar units. Each answers a fundamentally different question. A doctor cannot build a clinical picture from only one. Example: GradCAM says "gamma band triggered it." SHAP says "specifically the F7-T3 frontal-temporal connection." Radar says "gamma is 2.3 standard deviations below healthy mean." Together this is a complete clinical finding.

PART 4  COMPLETE COMPARISON — PAPER VS. OUR SYSTEM

| Decision Point | 2025 Paper (Baseline) | Our System (Proposed) | Theoretical Justification |
| --- | --- | --- | --- |
| Preprocessing | Butterworth filter only | Butterworth + ICA artifact removal | Eye blinks are broadband — filtering cannot remove them. ICA removes at source. |
| Signal representation | CWT scalograms per channel (independent) | CWT scalograms (stacked, 16-ch) + PLV connectivity matrices | Schizophrenia is a disconnection syndrome. Inter-channel relationships are the primary biomarker. |
| Architecture | EfficientNetB3 + DenseNet169 (ImageNet) | EEG-Conformer + Graph Attention Network | ImageNet features are wrong domain. EEG-Conformer designed for oscillatory signals. GAT handles graph topology natively. |
| Feature fusion | Concatenation of 3200 features | Cross-attention fusion (dynamic weighting) | Cross-attention allows each modality to inform interpretation of the other. Concatenation treats them as independent. |
| Feature selection | ASBO wrapper (post-hoc statistical) | Learned by cross-attention (end-to-end) | End-to-end learning ties feature selection to classification objective. ASBO is decoupled. |
| Final classifier | KNN (non-differentiable) | MLP classification head (learned) | KNN does not generalise — it memorises training data. MLP learns decision boundaries. |
| Pretraining | ImageNet transfer learning | SimCLR self-supervised on EEG | 84 subjects is insufficient for supervised learning. SSL pretrains on structure without labels. |
| Uncertainty | None | Monte Carlo Dropout (mean ± std) | Clinical tools require uncertainty quantification. A 54% prediction is not the same as an 89% prediction. |
| Explainability | None (future work) | GradCAM + SHAP + Band Radar | Doctors cannot act on black-box outputs. Three complementary methods give a complete picture. |
| Clinical output | Binary label only | Severity score + brain map + trends + PDF | Binary yes/no has no clinical utility. Doctors need actionable, quantified, documented information. |

PART 5  QUESTIONS TO PREPARE FOR — WITH ANSWERS

These are the hardest questions your head of startup is likely to ask. Study these until you can answer them without hesitation.

Q1: The paper already got 99.67% accuracy. Why is your system better if the accuracy is already near-perfect?

Answer: Accuracy on a research benchmark is not the same as clinical utility. The paper outputs a single binary label with no explanation, no uncertainty, and no severity measure. A doctor cannot use a yes/no label to make treatment decisions. Our system targets the same or higher accuracy AND provides uncertainty quantification, explainability through GradCAM and SHAP, severity scoring, and a doctor-facing dashboard. We are not trying to improve a number — we are building a tool that could function in a hospital.

Q2: Why are you using self-supervised pretraining? Is this not overcomplicating things?

Answer: No. With 84 subjects in the MSU dataset, supervised training from random initialisation will memorise the training set. This is not speculation — it is a well-documented failure mode called overfitting in small medical datasets. SimCLR self-supervised pretraining teaches the model the general structure of EEG signals using all available data before any labels are applied. This is exactly the approach used in medical imaging where labelled data is always scarce.

Q3: You rejected the paper's EfficientNetB3 and DenseNet169. What evidence do you have that EEG-Conformer is better?

Answer: The EEG-Conformer was published in IEEE Transactions on Neural Networks and Learning Systems (2022) and demonstrated superior performance on EEG classification tasks specifically because it combines CNNs for local spatial features with Transformers for long-range temporal dependencies. EfficientNet and DenseNet pretraining is from ImageNet — a natural image dataset. Transfer learning only works when the source domain is related to the target domain. A brain scalogram is not a photograph. The learned edge-detection and texture filters do not correspond to oscillatory neural patterns.

Q4: What is your target accuracy and how confident are you?

Answer: Our target is to match or exceed the paper's 99.67% on the MSU dataset. The paper's accuracy is achievable because the core CWT scalogram approach is sound — we keep this. We add connectivity modelling and better architecture, which should maintain or improve accuracy. However, accuracy is not our primary metric. Our primary metric is clinical utility — which is measured by whether a doctor can use the output to make a better decision than without the tool.

Q5: How do you handle the small dataset problem — 84 subjects is very small?

Answer: Three mechanisms working together. First, the 20-second sliding window with 15-second overlap amplifies 84 subjects into 12,096 scalogram images — this is the paper's validated approach. Second, SimCLR self-supervised pretraining uses all EEG data without labels to learn EEG structure before fine-tuning. Third, EEG-specific data augmentation — time shifting, channel dropout, Gaussian noise, and frequency masking — creates harder versions of each sample that force the model to learn robust representations.

Q6: What does the doctor actually see? Walk me through it.

Answer: The doctor uploads a 15-minute EEG recording. Within seconds they see: a detection result (positive or negative) with a confidence interval from Monte Carlo Dropout. A severity score from 0-100 with a clinical interpretation (low, moderate, high). A 16-electrode brain topography map coloured by abnormality. A per-band radar chart showing delta, theta, alpha, beta, and gamma power compared to a healthy baseline with z-scores. A list of key clinical findings in plain language. A 6-month trend chart if the patient has previous scans. A PDF export button. At every stage we emphasise this is a screening aid, not a diagnosis.

Q7: Why Phase-Locking Value and not Transfer Entropy or Coherence?

Answer: Transfer Entropy measures directional causal information flow. It is theoretically more informative than PLV but requires very long signal segments to estimate reliably — a 20-second window is insufficient for accurate TE estimation on EEG. Coherence measures amplitude correlation between channels. PLV measures phase synchronisation. For schizophrenia specifically, the disrupted biomarker is phase synchronisation in the gamma band between frontal and temporal regions — this is documented across multiple independent studies. PLV directly measures what we need, is computationally fast, and is robust on 20-second windows.

PART 6  4-WEEK EXECUTION PLAN — THEORY BEFORE BUILDING

| Week | Focus | Deliverable | Theory to Master First |
| --- | --- | --- | --- |
| Week 1 | Signal Theory & Preprocessing | Clean EEG pipeline: MNE + ICA + CWT scalograms + PLV connectivity matrices. Visualise scalograms for both healthy and schizophrenic subjects. Confirm they match paper's figures. | EEG frequency bands. What ICA does and why. How CWT differs from Fourier. What PLV measures. The disconnection syndrome concept. |
| Week 2 | Model Architecture & Training | EEG-Conformer + GAT + cross-attention trained and evaluated on MSU dataset. SimCLR pretraining completed. Target: exceed paper's 99.67%. | How attention mechanisms work. Why graph neural networks are different from standard NNs. Why self-supervised learning works on small datasets. |
| Week 3 | Explainability & Uncertainty | GradCAM heatmaps on scalograms. SHAP values on connectivity features. Per-band power radar chart. MC Dropout uncertainty intervals. Validated against 5+ test cases. | How GradCAM backpropagates gradients to feature maps. What SHAP values represent (Shapley game theory). What MC Dropout approximates. |
| Week 4 | Dashboard & Deployment | FastAPI backend. Doctor dashboard with all outputs. PDF export. Hosted on Hugging Face Spaces for demo. | How to serve PyTorch models via API. How to render MNE brain topography maps in a web interface. Clinical documentation standards. |

The Core Principle — Theory Before Building Your head's feedback was correct. The pipeline only makes sense if you understand what each step is trying to accomplish theoretically. Before writing any code for a step, be able to answer all four questions from memory: Why this? What does it do? What's next and why? Why not other approaches? If you cannot answer all four questions for a step, you are not ready to build it. Every architectural choice in this document has a reason rooted in neuroscience, signal processing theory, or machine learning theory — not personal preference. When you can explain the gamma band deficit, the frontal-temporal desynchronisation, and why PLV measures it — your pipeline will make complete theoretical sense.

One-Line Summary for Each Decision

| Component | One-Line Defence |
| --- | --- |
| ICA Preprocessing | Eye blinks are 10× larger than brain signals and broadband — only ICA removes them at the source. |
| CWT Scalogram | The only representation that preserves both when and at what frequency a brain event occurs. |
| PLV Connectivity | Schizophrenia is a disconnection syndrome — you cannot detect it without measuring inter-channel synchronisation. |
| EEG-Conformer | The only architecture designed for oscillatory EEG signals, combining local CNN features with global Transformer attention. |
| Graph Attention Network | Treats electrodes as a graph and learns which brain connections are most discriminative — GAT weights them, GCN does not. |
| Cross-Attention Fusion | Spectral features and connectivity features must inform each other dynamically — concatenation treats them as independent. |
| SimCLR Pretraining | 84 subjects is too small for supervised learning from scratch — SSL pretraining learns EEG structure without needing labels. |
| Monte Carlo Dropout | A 54% prediction and an 89% prediction must look different to a doctor — MC Dropout provides the uncertainty interval. |
| GradCAM + SHAP + Radar | GradCAM = what, SHAP = where, Radar = how much — all three together constitute a complete clinical finding. |
| Severity Score + Dashboard | Binary yes/no has zero clinical utility — doctors need quantified, explainable, documentable decision support. |

This document is a living reference. Read it before every meeting. Update it as your understanding deepens. The goal is not to memorise these words — it is to understand the reasoning so completely that you can reconstruct any explanation from first principles.