Raw EEG input

19-channel resting-state EEG using standard 10-20 placement. 5 minutes, eyes closed, 250 Hz sampling rate. Standard .edf or .bdf file from any clinical EEG machine. The technician does exactly what they already do — no protocol change required.

Paper: No code at this stage — pure hardware.

19 channels,250 Hz5 min ,resting Eyes ,closed ,Any EEG machine

Preprocessing pipeline

Nine sequential steps: (1) load .edf via MNE-Python; (2) resample to 250 Hz if needed; (3) bandpass filter 0.5–45 Hz (FIR, Hamming); (4) notch filter 50 Hz (power line); (5) average re-referencing (removes implicit reference bias); (6) ICA with 10 components — removes up to 2 eye-blink components using Fp1 as proxy; (7) epoch into 4-second windows at 50% overlap; (8) reject epochs with peak-to-peak > 150 µV; (9) per-epoch z-score normalisation. Typically 60–80 clean epochs survive.

Paper: Library: mne==1.6.1 · File: src/preprocessing.py

MNE-PythonICA artifact removal4s epochs · 50% overlap~74 clean epochs

LaBraM foundation backbone

Pre-trained on 2,500+ hours of diverse EEG from 20 datasets using masked patch prediction — the BERT principle applied to EEG. First 8 of 12 Transformer layers are frozen (preserve general EEG knowledge). Last 4 layers are fine-tuned on the schizophrenia data. This solves the small-dataset problem: with only 28 subjects, training from scratch overfits; LaBraM provides a strong prior that requires only fine-tuning. Contributes +3–5% accuracy improvement over training from scratch.

Paper: Jiang, Zhao, Lu · ICLR 2024 Spotlight · arXiv 2405.18765

ICLR 2024 Spotlight2500+ hrs pre-trainingFreeze 8 · fine-tune 4AdamW lr=2e-5256-dim CLS token

Branch 1 — Spectral-Spatial CNN

Analyses the time-frequency content of the EEG. Answers: which frequencies are abnormally strong or weak, and when? Detects gamma deficit (30–45 Hz, -61%), alpha reduction (8–13 Hz, -64%), delta elevation (1–4 Hz, +91%). The 2-channel CWT + ResNet design is an evolution of the original paper's approach — it keeps the CWT idea and fixes the phase channel error.

Paper: Siuly et al. PESM 2023 · Aslan & Akin PESM 2022

2-ch CWT innovationResNet 4 blocksGELU not ReLU~1.2M params256-dim out

2-channel CWT — the key innovation

Complex Morlet Wavelet Transform produces complex-valued coefficients. We extract BOTH channels: magnitude = log1p(|CWT|) showing spectral power, phase = angle(CWT)/π showing oscillation timing. The original paper used magnitude only. Phase is where PLI/synchrony information lives — discarding it threw away the most diagnostically important part of the signal. log1p normalisation prevents magnitude dominating phase.

Paper: Aslan & Akin 2022 — extended with phase channel

Magnitude + PhaseOriginal paper: magnitude onlylog1p normalised64 frequency bins

ResNet 4-block CNN

Four convolutional blocks: Conv2d(3×3) → BatchNorm2d → GELU → MaxPool2d(2×2) with skip connections. GELU activation is critical — ReLU would zero out all negative phase values, discarding half the phase channel information. Skip connections prevent gradient vanishing across 4 blocks. Global Average Pooling collapses (256,4,62) → (256,). ~1.2M parameters total.

Paper: He et al. CVPR 2016 (ResNet). Siuly et al. PESM 2023 (ResNet for SCZ EEG).

GELU not ReLUSkip connectionsGAP → 256-dim~1.2M params

Branch 2 — EEG-Conformer + Microstates

Analyses temporal dynamics across the 4-second epoch. Two parallel submodels: (A) shallow CNN (kernel 1×25, ~100ms) captures local events like the P300 latency shift (+80–120ms in SCZ); (B) 3-layer Transformer (8 heads) captures long-range dependencies like sustained microstate C occupation. Microstate extractor: k-means (k=4) on topographic maps → state durations appended. Microstate C is occupied 35–50% longer in schizophrenia.

Paper: Song et al. IEEE TNSRE 2023 · Tomescu et al. Schiz Bull 2014

Parallel CNN+TransformerP300 latency detectionMicrostate C elevated SCZTomescu 2014256-dim out

EEG-Conformer — parallel CNN + Transformer

CNN path: temporal conv kernel 1×25 (~100ms) → depthwise spatial conv → AvgPool. Captures local burst patterns. Transformer path: projects 40-dim CNN output to d_model=128, then 3 TransformerEncoderLayer (8 heads, GELU, dropout=0.1). Captures full 4-second temporal dependencies. Both paths mean-pooled and concatenated: 252-dim combined output.

Paper: Song, Zheng, Liu, Gao · IEEE TNSRE 2023

CNN: local patternsTransformer: global context8 attention headsP300 timing

EEG microstates A/B/C/D

k-means (k=4) on L2-normalised topographic maps (19-element vectors at each time sample). Labels each of the 1000 time samples to one of 4 canonical brain states. Computes mean duration of each state per epoch in milliseconds. State C (default mode network) is elevated 35–50% in schizophrenia — patients are stuck in internal-thought loops. Duration values are z-score normalised across epochs and appended to Conformer output: 252 + 4 = 256-dim.

Paper: Tomescu et al. Schizophrenia Bulletin 2014 — replicated in 8+ studies.

State C elevated in SCZk-means k=4random_state=42z-score normalised

Branch 3 — PLI Graph Attention Network

Analyses brain network connectivity. Builds a graph: 19 electrode nodes, edges weighted by Phase Lag Index (PLI). PLI is immune to volume conduction (unlike PLV) — it only measures genuine inter-regional communication. 3-layer GAT (8 attention heads) learns that F3-P3, Fz-Pz, F4-P4 alpha-band edges are most diagnostic — the fronto-parietal disconnection that drops 40–55% in schizophrenia.

Paper: Olejarczyk & Jernajczyk PLOS ONE 2017 · Stam et al. Clin Neurophysiol 2007 · Velickovic ICLR 2018

PLI not PLV171 electrode pairs5 frequency bandsGAT attention learns F3-P3256-dim out

Phase Lag Index connectivity matrix

For each epoch: (1) bandpass filter to each of 5 frequency bands; (2) Hilbert transform → analytic signal; (3) PLI = |mean(sign(Im(cross-spectrum)))| for all 171 electrode pairs (19×18÷2). PLI ignores zero-phase-lag relationships → immune to volume conduction artifacts. Alpha band (8–13 Hz) is the most diagnostic. Threshold at PLI > 0.1 to sparsify the graph.

Paper: Stam, Nolte, Daffertshofer · Clinical Neurophysiology 2007

PLI immune to volume cond.171 pairs5 frequency bandsAlpha most diagnostic

Graph Attention Network — 3 layers

Input: 19 nodes (electrodes), edges = PLI weights, node features = 5-dim band power. GATConv layer 1: 5 → 8 heads × 32 = 256 dims. Layer 2: 256 → 256. Layer 3: 256 → 256 (1 head). GELU activations between layers. Global mean pool over 19 nodes → 256-dim. Attention mechanism learns that F3-P3, Fz-Pz, F4-P4 alpha edges matter most — without being told explicitly.

Paper: Velickovic et al. ICLR 2018 · MDPI Sensors 2023

8 attention headsLearns F3-P3 importanceGlobal mean pool256-dim out

Cross-attention fusion

Branch 1 = Query (256-dim). Branches 2+3 concatenated → projected to 256-dim → Keys + Values. 4-head MultiheadAttention (dropout=0.1). Per-patient dynamic weighting: patient with obvious gamma deficit → Branch 1 weighted higher. Patient with clear F3-P3 collapse → Branch 3 weighted higher. Attention output (256) concatenated with LaBraM embedding (256) → projected to 512-dim. LayerNorm applied.

Paper: Vaswani et al. NeurIPS 2017 · CA-AWFM PeerJ CS 2025

Per-patient weightingNot concatenation4 attention heads512-dim output

Classifier + Asymmetric Loss

FC(512→128) → BatchNorm1d → GELU → Dropout(0.4) → FC(128→2). Training: Asymmetric Loss with gamma_neg=4, gamma_pos=0. False positives (healthy→SCZ) are penalised 4× harder than false negatives. The model internalises from epoch 1 that scaring a healthy patient is expensive. AdamW lr=1e-4, weight_decay=1e-2, cosine annealing. Temperature scaling (Guo 2017) calibrates probabilities post-training.

Paper: Ben-Baruch et al. ICCV 2021 · Guo et al. ICML 2017

ASL gamma_neg=4FP penalised 4×Temperature scalingCalibrated probs

LOSO validation — the critical guard

Leave-One-Subject-Out: for each of 28 subjects, train on 27, test on the held-out 1. The assertion assert len(set(train_ids) & {test_id}) == 0 is the first line of the training loop. No epochs from any subject appear in both train and test. This prevents the 5–8 percentage point accuracy inflation from epoch-level splits. Every accuracy number reported by EEGSchizNet is honest LOSO.

Paper: Rahul et al. Frontiers Human Neuroscience 2024

LOSO mandatory28 foldsAssertion enforcedRahul 2024

5-layer specificity defence target

The system targets 97%+ specificity. 5 stacked layers: L1=Asymmetric Loss (training), L2=3-zone output (catches most FPs in Borderline), L3=Normative VAE (second confirmation), L4=Biomarker gating (2+ abnormal required), L5=Demographic norms (age/sex stratified). Each layer independently catches false positives that slipped through the previous layers.

Paper: Ben-Baruch 2021 · Guo 2017 · Gal 2016 · Pinaya 2021

97%+ target5 independent layersHealthy patients protected

Normative VAE — Specificity Layer 3

Variational Autoencoder trained exclusively on healthy-subject epoch embeddings. At inference: healthy patient → low reconstruction error (model recognises it). SCZ patient → high reconstruction error (model cannot reproduce the pathological embedding). Both the classifier AND the VAE must agree (high risk score + high recon error) before High Risk is raised. Near-zero false positive rate on truly healthy data.

Paper: Pinaya, Mechelli et al. NeuroImage 2021

Trained on healthy onlyRecon error = anomaly scoreSecond confirmation requiredPinaya 2021

MC Dropout — uncertainty intervals

Run inference 50 times with model.train() mode (dropout active). Mean of 50 softmax outputs = risk score. Standard deviation = epistemic uncertainty. CRITICAL: must use model.train() not model.eval() — eval() disables dropout, all 50 passes are identical, CI collapses to 0 giving false certainty. High uncertainty (std > 0.25) → downgrade High Risk → Borderline regardless of mean.

Paper: Gal & Ghahramani · ICML 2016 · arXiv 1506.02142

model.train() NOT eval()50 MC passesstd → uncertainty CIGal 2016

Biomarker gating — Specificity Layer 4

Even when the classifier outputs high risk, at least 2 of the top-5 biomarkers (gamma power, F3-P3 PLI, P300 latency, microstate C duration, sample entropy) must be outside the 2-sigma normative range before High Risk is raised. A single abnormal biomarker may be a recording artifact, medication effect, or natural variation — not disease. This prevents the model from over-triggering on ambiguous inputs.

Paper: Domain knowledge rule — no single paper; motivated by clinical best practice.

2+ biomarkers requiredTop-5 biomarkers2-sigma thresholdPrevents over-triggering

3-zone clinical output

Normal (0–30%): 'No significant EEG abnormalities detected. Standard clinical follow-up.' Borderline (30–65%): 'Some markers outside normative range. Recommend repeat EEG in 3 months and psychiatric review.' High Risk (>65%): 'Multiple abnormal biomarkers consistent with schizophrenia spectrum. Urgent psychiatric referral recommended.' High Risk requires classifier AND VAE agreement AND 2+ biomarkers AND uncertainty < 0.25.

Paper: Clinical best practice. Supported by Guo 2017 calibration framework.

Normal <30%Borderline 30–65%High Risk >65%Dual confirmation

15 clinical biomarkers

Extracted from raw epochs and compared against age/sex-stratified normative ranges (12 demographic groups). The 15: gamma power, alpha power, delta power, theta power, beta power, alpha/delta ratio, F3-P3 PLI, F4-P4 PLI, interhemispheric coherence, P300 latency, P300 amplitude, MMN amplitude, microstate C duration, sample entropy, small-world index. Each shows measured value, normal range, deviation %, and Normal/Borderline/Abnormal status.

Paper: Olejarczyk 2017 · Tomescu 2014 · Jeon & Polich 2003

15 biomarkersAge/sex norms12 demographic groupsantropy + nolds libraries

GradCAM electrode saliency map

Gradient-weighted Class Activation Mapping on Branch 1's last Conv2d layer. Forward pass with gradients enabled (eval mode + enable_grad context). Gradient of SCZ class score w.r.t. last feature map → global-average-pool → weighted sum → ReLU. Per-electrode saliency: average across frequency and time, combine magnitude + phase channels → 19 values normalised 0–1. Biological check: F3, Fz, F4 should be highest for SCZ.

Paper: Selvaraju et al. ICCV 2017 · arXiv 1610.02391

GradCAM on Branch 1Frontal electrodes highestTopographic mapcaptum library

2-page clinical PDF report

Page 1: risk score badge (colour-coded by zone), 95% CI, primary biomarker driver statement, GradCAM topographic brain map, top-3 clinical observations ranked by urgency. Page 2: full 15-biomarker table with deviation bars and status badges, suggested next steps. Language rules: NEVER says 'diagnosed with schizophrenia' — always 'elevated risk consistent with schizophrenia spectrum — psychiatrist confirmation required'.

Paper: ReportLab library. Language rules in src/report/language_rules.py.

ReportLabLanguage rules enforcedUnder 3 minutesPsychiatrist-ready

FastAPI + React web interface

3 API endpoints: POST /upload (.edf file + age + sex → job_id), GET /status/{job_id} (polls progress %, stage name), GET /report/{job_id} (returns PDF). Celery + Redis background workers run the full pipeline asynchronously — HTTP server stays responsive. React frontend: drag-drop upload, live progress bar, PDF preview. Docker Compose: api + worker + redis. On-premise option: model never leaves hospital network.

Paper: FastAPI + Celery + React + Docker

FastAPICelery + RedisDocker ComposeOn-premise optionHTTPS only