Schizophrenia Detection from EEG Signals

Using Image Encoding and Wrapper-Based Deep Feature Selection

Framework Analysis, Working Guide & Method Comparison

Based on: Aich et al., Scientific Reports (2025) 15:21390

# 1. Executive Summary

This document provides a comprehensive explanation of the three-stage deep learning framework proposed by Aich et al. (2025) for automated schizophrenia detection using EEG signals. It covers how the system works step-by-step, its key innovations, and critically evaluates whether this is the best approach available or whether alternative methods should be considered.

Key Achievement: 99.67% accuracy on M.S.U dataset and 99.97% on RepOD dataset, outperforming all prior state-of-the-art results — while using only ~1/3 of the original feature set.

# 2. The Problem Being Solved

Schizophrenia affects approximately 1% of the global population (~24 million people as of 2022). It is characterized by hallucinations, delusions, disorganized speech, and cognitive impairments. Current diagnosis is primarily subjective — relying on a clinician's evaluation of symptoms — which leads to frequent misdiagnosis and delayed treatment.

EEG (electroencephalogram) offers a cost-effective, non-invasive, and high-temporal-resolution window into brain activity. However, EEG data is notoriously difficult to analyze due to:

- High dimensionality (multiple channels × many time points)

- Non-stationarity (patterns shift over time)

- Susceptibility to noise and artifacts

- Need for expert preprocessing knowledge

The core innovation of this paper is transforming the EEG analysis problem into an image classification problem — making it compatible with powerful pre-trained deep learning models.

# 3. How the Framework Works — Step by Step

## 3.1 Stage 1: Data Collection & Preprocessing

Two publicly available datasets are used:

| Dataset | Subjects | Channels | Sampling Rate | Duration |
| --- | --- | --- | --- | --- |
| M.S.U (Moscow State) | 84 (45 schizophrenic, 39 healthy) | 16 | 128 Hz | 1 min per subject |
| RepOD (Polish dataset) | 28 (14 schizophrenic, 14 healthy) | 19 | 250 Hz | 15 min per subject |

Preprocessing steps:

- Raw EEG is segmented into 30-second artifact-free intervals

- Artifacts (eye blinks, cardiac, muscle) are excluded

- A second-order Butterworth bandpass filter isolates five frequency bands: delta (2–4 Hz), theta (4.5–7.5 Hz), alpha (8–12.5 Hz), beta (13–30 Hz), and gamma (30–45 Hz)

- Re-referencing techniques applied: CSD (Laplacian), AVERAGE, and standardized reference

## 3.2 Stage 2: EEG → Scalogram Image Encoding

This is the most novel contribution. EEG signals are transformed into scalogram images using the Continuous Wavelet Transform (CWT) with a Morlet wavelet basis.

### Why Morlet Wavelet?

The Morlet wavelet offers an optimal balance between time and frequency resolution. Unlike Haar or Daubechies wavelets (better for abrupt changes), the Morlet wavelet's Gaussian-modulated sinusoidal shape gives superior frequency localization — ideal for capturing the rhythmic, oscillatory patterns characteristic of EEG signals.

### How Scalograms Are Generated

- A 20-second sliding window with 15-second overlap (5-second step) is applied to each channel

- The ScalogramCWT function converts each segment into a 2D time-frequency image

- Colors/intensity represent the squared magnitude of CWT coefficients — i.e., energy distribution across time and frequency

- Result: 12,096 images from M.S.U dataset; 89,830 images from RepOD dataset

Why this works: Converting EEG to images captures BOTH temporal dynamics AND spectral content simultaneously — information that traditional 1D signal processing methods often separate or lose.

## 3.3 Stage 3: Feature Extraction via Transfer Learning

The scalogram images (256×256 pixels) are fed into two pre-trained CNN models:

### EfficientNetB3

A compound-scaled CNN that uniformly scales depth, width, and resolution. It uses MobileNetV2-style inverted residual blocks and Squeeze-and-Excitation (SE) blocks. Pretrained on ImageNet. After Global Average Pooling, produces a 1536-dimensional feature vector per image.

### DenseNet169

A densely connected architecture where every layer connects to every other layer. This promotes feature reuse, combats vanishing gradients, and achieves high accuracy with fewer parameters. After Global Average Pooling, produces a 1664-dimensional feature vector per image.

### Why Two Models?

The features from EfficientNetB3 and DenseNet169 are concatenated into a single 3200-dimensional vector. The two architectures learn complementary representations — one optimized for efficiency, the other for dense feature reuse — giving the classifier richer information.

| Model | Output Features | M.S.U Accuracy | RepOD Accuracy |
| --- | --- | --- | --- |
| EfficientNetB3 alone | 1536 | 96.38% | 94.26% |
| DenseNet169 alone | 1664 | 95.33% | 94.10% |
| Concatenated (both) | 3200 | 98.76% | 98.96% |
| After ASBO Feature Selection | 892 / 1016 | 99.67% | 99.97% |

## 3.4 Stage 4: Average Subtraction Based Optimization (ASBO) Feature Selection

The most technically sophisticated stage. A wrapper-based feature selection algorithm (ASBO) identifies the most discriminative subset of features from the 3200-dimensional vector.

### How ASBO Works

ASBO is a parameter-free optimization algorithm. Unlike Genetic Algorithms or PSO, it requires no mutation rates, crossover probabilities, or learning coefficients. It operates in three phases per iteration:

- Phase 1: Compute the average of the best and worst candidate in the population. Update each candidate toward or away from this average based on fitness.

- Phase 2: Compute the difference between best and worst candidates. Update candidates using this differential.

- Phase 3: Update candidates based on the globally best solution (exploitation phase).

A sigmoid transfer function converts continuous ASBO values to binary (0 or 1) — deciding whether each feature is selected or discarded. The fitness function is KNN classification accuracy.

Parameters: 100 iterations, search space of 50 candidates. Result: 72% feature reduction (3200 → 892 for M.S.U; 69% reduction for RepOD) with improved accuracy.

## 3.5 Stage 5: KNN Classification

The K-Nearest Neighbour (KNN) classifier (using Scikit-learn defaults) is used as both the evaluation function inside ASBO and the final classifier. KNN classifies a new data point by majority vote among its K nearest neighbors in the reduced feature space.

KNN is chosen for its simplicity, non-parametric nature, and interpretability. It requires no separate training stage and performs well in complex, non-linear feature spaces.

# 4. Comparison with Prior Methods

## 4.1 On M.S.U Dataset

| Method | Year | Key Technique | Accuracy |
| --- | --- | --- | --- |
| C. Phang et al. | 2019 | DNN-DBN + connectivity features | 95.0% |
| Rajesh et al. | 2021 | SLBP + LogitBoost classifier | 91.66% |
| Sobahi et al. | 2022 | ELM Autoencoder + transfer learning | 97.7% |
| Bagherzadeh et al. | 2024 | PDC + dDTF + TE ensemble CNNs | 98.46% |
| Proposed Framework | 2025 | CWT + EfficientNetB3 + DenseNet169 + ASBO | 99.67% |

## 4.2 On RepOD Dataset

| Method | Year | Key Technique | Accuracy |
| --- | --- | --- | --- |
| Buettner et al. | 2019 | ICA + Random Forest | 71.43% |
| Krishnan et al. | 2020 | MEMD + SVM-RBF entropy | 93.0% |
| Bagherzadeh et al. | 2022 | Transfer Entropy + CNN-LSTM | 99.9% |
| Sara et al. | 2022 | EfficientNetB0-LSTM hybrid | 99.9% |
| Shoeibi et al. | 2024 | DWT + dDTF + ConvNeXt-Tiny | 96.0% |
| Proposed Framework | 2025 | CWT + EfficientNetB3 + DenseNet169 + ASBO | 99.97% |

# 5. Critical Evaluation: Is This the Best Method?

## 5.1 Strengths of This Framework

- State-of-the-art accuracy: Surpasses all prior work on both benchmark datasets.

- Feature efficiency: Achieves superior results using only ~28–31% of extracted features, reducing inference time.

- Novel image encoding: First use of scalogram images for schizophrenia detection — captures rich joint time-frequency structure.

- Parameter-free optimization: ASBO requires no manual tuning of hyperparameters, unlike Genetic Algorithms or PSO.

- Generalizability: Validated on two independent datasets with different recording setups, suggesting robust generalization.

- Transfer learning advantage: Leverages ImageNet-pretrained features, enabling good performance even on small clinical datasets.

- Lightweight inference: The reduced feature set makes the model suitable for deployment on edge devices.

## 5.2 Limitations & Concerns

- Small sample sizes: M.S.U has only 84 subjects and RepOD has 28. Near-perfect accuracy on such small datasets raises the risk of overfitting, even with transfer learning.

- Image explosion: The sliding window approach generates tens of thousands of images (89,830 for RepOD) from 28 subjects. There is potential for data leakage between train/test splits if images from the same subject appear in both sets.

- KNN scalability: KNN performs poorly at inference time for large datasets — not ideal for production clinical deployment.

- No explainability: The paper lacks Grad-CAM, SHAP, or other interpretability analysis. Clinicians cannot understand which brain regions or frequency bands drive predictions.

- Hyperparameter tuning: Model hyperparameters (dropout, regularization, optimizer) were chosen empirically through trial-and-error, not through rigorous grid search or Bayesian optimization.

- No patient-level evaluation: Accuracy is reported at the image (segment) level, not aggregated at the patient level — an important distinction for clinical use.

- Single disorder: The framework is specialized to binary schizophrenia/healthy classification; extension to multi-class psychiatric disorders is not demonstrated.

## 5.3 Alternative / Potentially Better Approaches

Depending on your goals, these alternative approaches may be worth considering:

| Approach | Why It May Be Better | Trade-off |
| --- | --- | --- |
| Graph Neural Networks (GNN) on EEG connectivity | Models inter-channel relationships; captures how brain regions communicate — more neurobiologically meaningful. | Higher complexity; requires well-defined connectivity metrics |
| Transformer / Attention-based models (e.g., EEG-GPT) | Self-attention can capture long-range temporal dependencies missed by CNNs operating on fixed windows. | Requires larger datasets; computationally heavier |
| Foundation Models (e.g., BIOT, LaBraM) | Pretrained on large-scale EEG corpora; better generalization without task-specific feature engineering. | Still emerging; limited clinical validation |
| CNN-LSTM Hybrids | Combines spatial feature extraction (CNN) with temporal sequence modeling (LSTM) — captures dynamics over time. | Computationally heavy; similar accuracy to proposed method |
| Riemannian Geometry / SPD Matrix Methods | Robust, mathematically principled; works well on small EEG datasets with few subjects. | Less intuitive; requires domain expertise |
| Federated Learning Framework | Enables training across multiple hospitals without sharing raw patient data — crucial for clinical adoption. | Communication overhead; requires infrastructure |

## 5.4 Verdict: Should You Follow This Method?

YES — if your goal is: (1) achieving state-of-the-art benchmark accuracy, (2) working with standard EEG datasets, or (3) a research/publication context.

PROCEED WITH CAUTION — if your goal is: (1) clinical deployment, (2) interpretable AI for medical decisions, or (3) generalizing to new patient populations not in the benchmark datasets.

CONSIDER ALTERNATIVES — if you need: (1) patient-level predictions rather than segment-level, (2) multi-disorder classification, or (3) explainable outputs that clinicians can trust.

# 6. Recommended Improvements

If you were to build on or improve this framework, the following additions would strengthen it significantly:

- Add patient-level aggregation: Aggregate segment-level predictions per patient using majority voting or probability averaging to report subject-level accuracy.

- Rigorous train/test split: Ensure no images from the same patient appear in both training and test sets (subject-independent split).

- Add Grad-CAM or SHAP analysis: Visualize which time-frequency regions and scalp electrodes contribute most to classification — essential for clinical adoption.

- Include larger, more diverse datasets: Validate on datasets with more subjects, different age groups, and different clinical presentations of schizophrenia.

- Replace KNN with SVM or XGBoost: For production deployment, SVM with RBF kernel or gradient boosted trees scale better and maintain good interpretability.

- Explore Transformer architectures: Apply Vision Transformers (ViT) to the scalogram images for potentially richer feature extraction.

- Multi-class extension: Include depression, bipolar disorder, or other psychiatric conditions for clinically useful differential diagnosis.

# 7. Conclusion

The framework proposed by Aich et al. (2025) represents a significant technical achievement in automated schizophrenia detection. Its core innovation — encoding EEG signals as scalogram images and combining EfficientNetB3 and DenseNet169 feature extraction with the parameter-free ASBO wrapper-based selection — delivers exceptional accuracy with a lean feature set.

The approach is scientifically sound and well-validated against prior work. However, like most academic deep learning papers in clinical neuroscience, it faces real-world adoption barriers: small datasets, lack of interpretability, and segment-level (rather than patient-level) evaluation.

For researchers building EEG-based psychiatric classifiers: this framework is an excellent starting point and clear benchmark. For clinicians or healthcare system developers: the method needs additional validation, explainability layers, and patient-level outcome evaluation before clinical deployment.

The scalogram-based image encoding strategy, in particular, is a powerful and reusable idea worth adopting in any EEG deep learning pipeline.

Document prepared for: Schizophrenia EEG Detection — Paper Review